## pvwatts_monthly (1)
PVWatts: Monthly PV Performance Data
Requested Location: | quebec
Location: | Lat, Lon: 46,81, -71,22
Lat (deg N): | 46.81
Long (deg W): | 71.22
Elev (m): | 0
DC System Size (kW): | 4
Module Type: | Standard
Array Type: | Fixed (open rack)
Array Tilt (deg): | 0
Array Azimuth (deg): | 0
System Losses: | 14.08
Invert Efficiency: | 96
DC to AC Size Ratio: | 1.2
Average Cost of Electricity Purchased from Utility ($/kWh): | No utility data available
Capacity Factor (%) | 11,8
Month | Solar Radiation (kWh/m^2/day) | Plane of Array Irradiance (W/m^2) | Number of days per month | Solar Radiation (kWh/m^2/month)
1 | 1.5208 | 47.1451 | 31 | 47.1451
2 | 2.3318 | 65.2891 | 28 | 65.2891
3 | 3.8145 | 118.2494 | 31 | 118.2494
4 | 5.0491 | 151.4739 | 30 | 151.4739
5 | 5.4443 | 168.7742 | 31 | 168.7742
6 | 5.8284 | 174.8515 | 30 | 174.8515
7 | 5.765 | 178.7144 | 31 | 178.7144
8 | 5.0289 | 155.8967 | 31 | 155.8967
9 | 3.8693 | 116.079 | 30 | 116.079
10 | 2.2695 | 70.3542 | 31 | 70.3542
11 | 1.3619 | 40.857 | 30 | 40.857
12 | 1.1029 | 34.191 | 31 | 34.191
| 43.3864 | 1321.8756 |  | 1321.8757
Total | 43.3864 | 1321.8756